{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["标外增加项目"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"标外增加项目","index":0,"n_rows":14,"n_cols":4,"rows_kept":14,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["绶溪古街民居修缮工程排污零星项目施工清单  (供参考，便于报价） "]
["序号","项目名称(品牌、规格）","单位","数量"]
[1,"DN300sn8 双壁波纹管","m",525]
[2,"DN110 PVC管","m",150]
[3,"砖砌污水检查井（2米以内）","座",22]
[4,"三格化粪池安装","个",9]
[5,"污水提升泵","项",1]
[6,"浆砌条石排水沟","m",490]
[7,"DN160  PE管","m",220]
[8,"DN50  PE管","m",80]
[9,"砖砌闸阀井（2m 以内）","座",29]
[10,"PVC110 电力管及弱电管","m",900]
[11,"砖砌电力井5座1800*2000*1500-M7.5水泥砖","座",5]
[12,"砖砌入户电力井（2m 以内）","座",9]