{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"images":6},"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":6,"n_cols":3,"rows_kept":6}
["名称型号","安装地点","参考样式"]
["LED轨道灯（p≥20w，色温不低于6000k,单灯无需轨道）","旧游客中心影音室"]
["筒灯（8寸，白光，色温不低于6500k）","旧游客中心大厅"]
["方通灯（黑壳白光，长90cm*宽10cm，p≥30w）","新游客中心大厅"]
["方通射灯（黑壳白光，直径5cm，p≥15w）","新游客中心大厅"]
["LED灯泡（白光，柱形泡，p≥16w）","咨询点大厅"]